POC.06900             Phase II

Is there a documented program to ensure that each person performing POCT maintains satisfactory levels of competence?

NOTE:  The records must make it possible for the Inspector to determine what skills were assessed and how those skills were measured.  Some elements of competency assessment include, but are not limited to:

- Direct observations of routine patient test performance, including patient preparation, if applicable, specimen handling, processing and testing

- Monitoring the recording and reporting of test results

- Review of intermediate test results or worksheets, quality control records, proficiency testing results, and preventive maintenance records

- Direct observation of performance of instrument maintenance and function checks

- Assessment of test performance through testing previously analyzed specimens, internal blind testing samples or external proficiency testing samples; and

- Evaluation of problem-solving skills

The above six elements must be reviewed for each employee performing POCT testing applicable to their duties, but the above six items do not have to be performed for each test performed by each employee.  For example, if employees perform testing for occult blood, whole blood glucose testing, i-Stats and urine dipsticks, the laboratory could set up a written quiz that would incorporate some problem solving issues with regard to these tests. (#6)   The lab may choose to pick whole blood glucose for this year, and set up direct observations that could be done by someone in the lab, nursing personnel, or other appointed person(s) deemed knowledgeable in the practice. (#1).  In observing the testing, the employee could be asked how the instrument is cleaned and how that issue is documented. (#4)  An attempt should be made to ensure that proficiency testing (PT) is performed on all shifts and eventually rotated through all employees. The Medical Director or designee should review these results for the POC testing. (#5)  If the laboratory has a system that downloads results including autoverification, the lab can see results that are not crossing the interface, and could see if the employee has documented appropriately the reason that the whole blood glucose or i-Stat result was repeated or critically high or low. (#2).  As a part of the Quality Management system, quality control records are to be reviewed.  The reviewer can see if the employees appropriately repeated testing if needed when controls were out of range for the urine dipsticks or any of the testing processes. (#3)

The above is just an example of how an institution can verify levels of competency with their employees. Nursing and the laboratory should work together to achieve these goals. Each institution should set up a system that would work for them, document the process that is to occur, and assure that the employees are competent.  It is handled much easier if each nursing floor works with the lab to verify these issues with regard to the employees on their respective units.

I hope this information is helpful to you.  If you have any further questions, feel free to contact me at the phone number or e-mail address listed below.  Thank you for your participation in the Laboratory Accreditation Program.

Sincerely,

Susan O. Schultz, MT(ASCP)

Technical Specialist

Laboratory Accreditation Program

1-800-323-4040, extension 7636

sschult@cap.org

| Waived Testing |  |
| --- | --- |

Standard PC.16.30 Staff performing tests have adequate, specific training and orientation to perform the tests and demonstrate satisfactory levels of competence.

Rationale for PC.16.30 For waived tests to be performed properly, the staff performing them must be qualified to do so. Staff members who perform waived testing have specific training in each test performed.

Elements of Performance for PC.16.30

- Current competence of testing staff is demonstrated.

- Each staff member who performs testing has been trained specifically to each test he or she is authorized to perform.

- Each staff member who performs testing has been oriented according to the hospital's specific needs.

- Testing that requires the use of an instrument is performed by staff with adequate and specific training on the use and care of that instrument.

- Competence is assessed according to hospital policy at defined intervals, but at least at the time of orientation and annually thereafter.

- These assessments have considered the following:

  - The frequency by which staff members perform tests; the technical backgrounds of the staff.

  - The complexity of the test methodology and the consequences of an inaccurate result

- Methods to assess current competency include at least two of the following:

  - Performing a test on an unknown specimen

  - Having the supervisor or qualified delegate periodically observe routine work

  - Monitoring each user's quality control performance

  - Having written testing that is specific to the method assessed

- The hospital evaluates and documents the information listed above.

Note: All staff who perform instrument-based testing, including but not limited to physicians, licensed independent practitioners, contracted staff, and RNs, must participate in training and competence demonstrations.

Response:

The details of the standard are found in the elements of performance for WT.1.30. WT.1.30 contains a total of 8 Elements of performance. Compliance is assessed for the individual organization being surveyed. Each organization defines it's own competence program for the staff conducting the testing and the type of waived testing they are performing.

Cherie Ulaskas
Joint Commission
Standards Interpretation Group
Phone: 630-792-5900

Is JCAHO Standard WT.1.30 the same as Standard PC.16.30?

Yes the standards are the same. The WT prefix is used in the lab manual and the PC prefix is used in all other manuals.


Cherie Ulaskas
Joint Commission
Standards Interpretation Group
Phone: 630-792-5900